## Slide 1
Radiology is the field of medicine that uses various kinds of radiation for diagnosing and treating.
It consists of Diagnosis and Therapy

## Slide 2
Radiation
X-ray
CT
Radionuclide Examination(Nuclear medicine)
Non-ionic radiation
Ultrasound methods
Magnetic resonance imaging (MRI)
Infrared examination

## Slide 3: X-ray Characteristics
Penetration capacity
Arouses lightning of the laminating screen (fluoroscopy)
Photochemical reaction- arouses darkening of the film(Radiography).
Biological
Ionizing

## Slide 4: X-ray tube

## Slide 6: X-ray apparatus
Source
Receiving device (film for radiography,screen for Fluoroscopy)
Patient
Radiologist

## Slide 9: X-ray methods
Radiodraphy-the image developed on the special film.

## Slide 10
Fluoroscopy-the image is displayed on the screen. It is impossible to be printed.

## Slide 12
Line (classical tomography)-the reflector and the cassette move in the opposite directions.The image of the examined layer inside is imaged on the film.

## Slide 14: Contrast methods
Contrasts
X-ray positive substances block rays stronger than surrounding tissues
Seabar(BaSo4)
Iodine-containing substances
X-ray negative substances that block radiation weaker than surrounding tissues-gases(О2,CO2,N2O)

## Slide 15: The ways of inserting contrasts
1. From natural paths and openings(per os, per rectum, per vaginum etc. .)
2. Puncturing vessels and ducts(arteriography, phlebography, lymphography etc.)
3. Puncturing natural cavities (Pneumoperitoneum, pneumothorax)
4. From the pathological exits and perforations(Fistulography)

## Slide 24: CT
- Tomographical research of inner organs using X-ray.

## Slide 28
The first tomogram of the brain
1972

## Slide 29: Hounsfield scale

## Slide 31
Non-invasive CT-coronography

## Slide 32
Virtual endoscopy

## Slide 46: Radionuclide Examination(Nuclear medicine)
-is the method based on registration of gamma rays from inserted artificial radioactive matters

## Slide 47
Radiopharmaceutical-Radioactive indicators inserted to the human body(circulation)
Nuclides
99Tс 6 h
113In 99 min
123I 8 d
131I 3 d
201Tl 3 d
67Ga 2,5 d
133Xe 5 d

## Slide 48
Gamma-chamber is the apparatus for the registration of spreading and dynamic activity of radioactive matter.

## Slide 49
In vivo
In vitro
Static
Dynamic

## Slide 54
SPECT-Single Photon Emission Computer Tomography

## Slide 55
Miocardioscintigraphy

## Slide 57
Сцинтиграфия с туморотропными РФП

## Slide 58: Positron emission tomography(pet)
The method is based on annihilation of one positron(+) and one electrone. As a result two gamma-qunta appear, which are registered by the detector

## Slide 60
Isotops
Carbon-11 (T½= 20,4 min.)
Nitrogen-13 (T½=9,96 мин.)
Oxygen-15 (T½=2,03 мин.)
Fluorine-18 (T½=109,8 мин.)
The most often used radiopharmaceutical tracer Flourine+Glucose

## Slide 63: Magnetic Resonance Imaging (MRI)
MRI is the method of topographic imaging based on phenomenon of magnetic nuclear resonance.

## Slide 67
MR-angiography

## Slide 73
Contraindications
- Medical devices inside the body(cardio stimulator etc.).
- Metal elements in examining area (prosthetic device,clips,debris).
- Impossibility to keep immobility during the examination.

## Slide 74: Ultrasound imaging (sonography)
is the method based on receiving the images which are got with the help of Ultrasound.
Echo-signal is the signal ,reflected from the border of divisions of two mediums

## Slide 77
А-regime(amplitude)-gives one-dimensional image which depends on resistance of the mediums.
М-regime(«motion»)-is the regime which displays the information about the moving walls of organs( e.g. heart)

## Slide 78
B-regime («brightness») is the method based on the registration eco-signals. The image depends on the tissue resistance. The denser is the tissue the brighter is the image.

## Slide 79
Doppler sonography is used to examine the blood circulation.The US-wave reflects from the vessel wall and erythrocytes at the same time.

## Slide 80
Colour Doppler Imaging